广妇儿脑智项目基因测序相关需求

目录

一、总体流程	1

二、测序技术要求	1

三、质控管理相关	2

3.1 时间节点	2

3.2 质控指标	2

3.3 数据交付规范	3

3.4 交付物清单	3

四、MegaBOLT生信流程详细描述	4

4.1数据过滤	5

4.2比对	5

4.3碱基质量值校正(BQSR)	6

4.4变异检测	6

4.5过滤变异结果	6

4.6 SNP/InDel结果注释	7

4.7 SV检测	7

4.8 CNV检测	7

4.9结构变异注释	7

4.10交付文件list	8

4.11交付文件解释	9

五、参数解释和对应cmdline	10

5.1数据过滤 共9列	10

5.2比对 共12列	11

5.3变异检测	11

一、总体流程

1．广妇儿采集血液样本，暂存生物样本库，样本库进行入库、分装、出库；

2．对血液样本进行全基因组测序（WGS），并提供测序质控指标、DNA样品质检报告和疾病项目分析报告；

3．将全基因组测序数据（fastq及约定的五类数据文件）用硬盘传输两份：一份传至课题承担单位，一份传回广妇儿院内；测序质控指标汇总表及两份报告通过线上传输。

二、测序技术要求

| 项目 | 要求 |
| --- | --- |
| 测序方式 | 全基因组测序（WGS） |
| 测序仪 | 华大 T7（DNBSEQ-T7） |
| 样本类型 | 血液 |
| 数据量 | 血液样本 ≥ 90 G |
| 原始数据格式 | fastq（双端），随交付目录按 tree.txt 结构整体交付 |

三、质控管理相关

3.1 时间节点

关于基因测序需提供如下时间节点：

1．采样（时间：如 2026-04-06 12:56:00，采血员姓名）

2．DNA 提取开始（时间，实验员姓名）

3．DNA 提取结束（时间，实验员姓名）

4．建库开始（时间，实验员姓名）

5．建库结束（时间，实验员姓名）

6．上机测序开始（时间，实验员姓名）

7．上机测序结束（时间，实验员姓名）

8．完成生信分析（时间，生信工程师姓名）

9．变异数据回传（时间）

10．全量数据回传（时间）

3.2 质控指标

完成测序和基础分析后需提供如下测序质控指标：

| 质控指标 | 数值/类型 | 质控标准 |
| --- | --- | --- |
| 生物样本类型 | 血液 | — |
| DNA 总量（μg） | （填写数值） | DNA 总量 > 2 μg |
| DNA 体积（μL） | （填写数值） | 仅提供数值即可 |
| DNA 浓度（ng/μL） | （填写数值） | DNA 浓度 > 20 ng/μL |
| 建库质检 | 合格 / 风险建库 | 仅填写类型即可 |
| 测序深度（平均深度） | （填写数值） | 平均深度 > 30X |
| Reads 长度 | （填写数值） | 统一写为PE150； |
| 原始 Read 数 | （填写数值） | 仅提供数值即可 |
| 测序总数据量 | （填写数值） | 血液样本测序总数据量 ≥ 90 G |

3.3 数据交付规范

基因测序后产生的五类数据（raw data、clean data、result alignment、gvcf、result variation），需严格按照 tree.txt目录交付。具体设置参数可参考：MegaBOLT 生信流程详细描述、参数解释和对应 cmdline。

3.4 交付物清单

完成测序和基础分析后，需交付以下具体数据/文件：

1．原始测序数据和基础分析数据：按照 tree.txt 文件进行数据交付，共五类文件夹——raw data、clean data、result alignment、gvcf、result variation（硬盘寄送两份：课题承担单位和广妇儿院内各一份）；

2．对应的报告：DNA 样品质检报告（PDF）、疾病项目分析报告（PDF）（线上传输），需包含测序深度、原始Reads长度、原始Read数、测序总数据量等质控指标；

3．测序质控指标汇总表（线上传输）。

四、MegaBOLT生信流程详细描述

Megabolt生信分析从测序的下机数据（raw data）开始。原始下机数据（raw data）中可能会包含接头（adapter）序列、测序质量很低的碱基、未测出的碱基（以N表示），这会对后续的信息分析造成很大的干扰，因此，首先需要对原始下机数据（raw data）进行过滤得到clean data或clean reads。接着，使用比对软件（Burrows-Wheeler Aligner，缩写为BWA），将每个样品的clean data比对到人的参考基因组，得到BAM格式的最初的比对结果文件。为了确保变异检测的精准性，我们按照GATK官方网站推荐的最优变异检测分析流程做分析（Genome Analysis Toolkit，即GATK）。对比对结果，使用GATK标记重复的reads并做碱基质量值重校正（base quality recalibration）的处理。基于比对结果，对每个样品的测序深度、覆盖度、比对率等评价指标进行统计。

另外,为了保证高质量的测序数据，在整个分析流程中设置了严格的数据质控体系（QC）。流程中我们使用GATK4的HaplotypeCaller，这一最前沿的软件来检测基因组变异中的SNP和InDel，并对原始的变异检测结果进行过滤得到可信度高的的变异结果。接下来，使用对变异结果进行注释及影响预测。最终的变异结果和注释结果将被用于下游的高级分析。使用 BreakDancer检测基因组中的结构变异（SV），使用CNVnator检测基因组中的拷贝数变异（CNV），并使用Ensemble-VEP对SV/CNV结果进行注释及影响预测。

4.1数据过滤

为了去除测序数据的噪音，我们使用SOAPnuke对数据进行过滤。软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| SOAPnuke | v2.1.0 | https://github.com/BGI-flexlab/SOAPnuke |

原始数据过滤方法如下：

（1）过滤掉含有接头序列的reads；

（2）当单端测序reads中含有的低质量（碱基质量值小于10）碱基数超过阈值（默认为50%）时，需要去除这一对reads；

（3）当单端测序reads中含有的N碱基的含量超过阈值（默认为10%）时，需要去除这一对reads。过滤后，得到"clean data"，并对测序数据进行统计，包括测序reads数量、数据产量、质量值分布等。

4.2比对

使用比对软件Burrows-Wheeler Aligner，将所有的clean data比对到人参考基因组上。分

别对每一条lane的测序数据进行比对，并在比对结果中添加read group ID。采用BWA-MEM 的比对方法，软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| BWA | v0.7.17 | http://bio-bwa.sourceforge.net/ |

这个命令行里，为了标明每个reads的来源，需要提供'read_group_tag'的信息，比

如：'@RG\tID:GroupID\tSM:SampleID\tPL:illumina\tLB:libraryID'.

接着，使用samtools对比对结果SAM文件按比对位置进行排序，并转换成 BAM 格式的文件。软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| samtools | 1.3.1 | http://www.htslib.org/ |

由于建库过程中PCR步骤会引入许多相同的DNA片段，会导致测序得到完全相同的reads，即duplicate reads。这些duplicate reads会干扰变异检测结果。因此，使用GATK软件包做后续分析时会忽略这些duplicate reads。这里使用GATK MarkDuplicates工具标记去除duplicate reads。软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| GATK MarkDuplicates | v4.1.8.1 | https://gatk.broadinstitute.org/hc/en-us/articles/360037225972-MarkDuplicates-Picard |

4.3碱基质量值校正(BQSR)

变异检测的方法依赖于碱基的测序质量值。各种测序仪器带来的系统性误差会引起碱基质量值过高或者过低，因此，需要使用已知位点（dbSNP，1000G）对碱基质量值进行校正，以得到较精确的碱基质量值，提高变异检测准确度。软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| GATK BaseRecalibrator | v4.1.8.1 | https://gatk.broadinstitute.org/hc/en-us/articles/360037593511-BaseRecalibrator |
| GATK ApplyBQSR | v4.1.8.1 | https://gatk.broadinstitute.org/hc/en-us/articles/360037225212-ApplyBQSR |

4.4变异检测

使用GATK的HaplotypeCaller工具同时检测SNPs和InDels，其原理是，在有变异信号的区域做单体型的局部de novo组装。原始的变异集合以VCF格式存储，它包括所有潜在的变异位点，软件信息如下所示

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| GATK HaplotypeCaller | v4.1.8.1 | https://gatk.broadinstitute.org/hc/en-us/articles/360037225632-HaplotypeCaller |

4.5过滤变异结果

使用GATK的VariantFiltration工具对SNPs和InDels进行硬值过滤，具体要求是SNP（QD < 2.0 || FS > 60.0 || MQ <40.0 || MQRankSum < -12.5 || ReadPosRankSum < -8.0），INDEL（QD < 5.0 || FS > 200.0 || ReadPosRankSum < -20.0）

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| GATK VariantFiltration | v4.1.8.1 | https://gatk.broadinstitute.org/hc/en-us/articles/360041850471-VariantFiltration |

4.6 SNP/InDel结果注释

得到高可信、高质量的变异集之后，使用Annovar对变异结果做注释。

4.7 SV检测

流程检测5种类型的结构变异（SV），(1)缺失(DEL)，(2)插入(INS)，(3)倒位(INV)，(4)染色体内易位(ITX)，(5)染色体间易位(CTX)。使用Breakdancer检测结构变异（SV），采用默认参数该方法主要是基于双末端的reads之间分离的距离及比对的方向使用成对不一致的算法来检参数。该方法主要是基于双末端的reads之间分离的距离及比对的方向，使用成对不一致的算法来检测SV。软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| BreakDancer | v1.4.5 | http://breakdancer.sourceforge.net/ |

4.8 CNV检测

使用基于深度信号算法的CNVnator来检测拷贝数变异，该方法是，将基因组分割成互不重叠的、相等长度的窗口，标准化每个窗口中比对上的reads数目作为深度信号来检测拷贝数变异。流程使用标准参数及设置，并选取100 bp的窗口长度。软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| CNVnator | v0.3.2 | https://github.com/abyzovlab/CNVnator |

4.9结构变异注释

我们使用Ensemble VEP（Variant Effect Predictor）对得到的结构变异（SV/CNV/Somatic

SV/Somatic CNV）进行注释。VEP是功能强大的注释、分析工具，它可以对二代测试产生的不同类型变异进行注释。最终得到表格格式的注释文件，软件信息如下：

| 软件 | 版本 | 链接 |
| --- | --- | --- |
| Ensembl VEP | release 111 | http://asia.ensembl.org/info/docs/tools/vep/index.html |

4.10交付文件list

4.11交付文件解释

根目录

- report1, report2, report3: 报告文件

- md5.check: 用于检查文件完整性的脚本或程序，通常会对文件进行MD5校验。

- md5.txt: 包含各文件的MD5校验码，用于验证文件的完整性和一致性。

clean_data 文件夹

包含经过预处理和清洗的数据文件。

- CEB001_1.fq.gz：第一个清洗后的测序文件（压缩格式）。

- CEB001_2.fq.gz：第二个清洗后的测序文件（压缩格式）。

- CEB001.base.png：碱基分布图像。

- CEB001.qual.png：质量评分分布图像。

- CEWB001.xls：清洗数据的Excel文件，可能包含数据统计信息或清洗结果。

gvcf 文件夹

包含全基因组变异调用格式文件。

- CEWB001.g.vcf.gz：基因组变异调用文件（压缩格式）。

- CEWB001.g.vcf.gz.tbi：基因组变异调用文件的索引文件。

raw_data 文件夹

包含原始测序数据文件。

- CEB001_1.fq.gz：第一个原始测序文件（压缩格式）。

- CEB001_2.fq.gz：第二个原始测序文件（压缩格式）。

- CEB001.base.png：碱基分布图像。

- CEB001.qual.png：质量评分分布图像。

result_alignment 文件夹

包含比对结果文件。

- CEWB001.bam：比对后的序列数据文件（BAM格式）。

- CEWB001.bam.bai：BAM文件的索引文件。

- CEWB001.Cumulative.png：累计覆盖度图像。

- CEWB001.Depth.png：深度分布图像。

- CEWB001.Insert.png：插入片段长度分布图像。

- CEWB001.SummaryTable.xls：比对结果的总结表格。

result_variation 文件夹

包含变异检测结果文件，细分为CNV（拷贝数变异）、Indel（插入缺失）、SNP（单核苷酸多态性）和SV（结构变异）四类。

cnv 文件夹

- CEWB001.cnv.AnnotationTable.xls：拷贝数变异注释表格。

- CEWB001.cnv.vep.anno.xls：通过VEP工具注释的拷贝数变异表格。

- CEWB001.cnv.xls：拷贝数变异结果表格。

indel 文件夹

- CEWB001.coding.indel.AnnotationTable.xls：编码区插入缺失变异注释表格。

- CEWB001.indel.AnnotationTable.xls：插入缺失变异注释表格。

- CEWB001.indel.annot.csv.gz：插入缺失变异注释文件（压缩格式）。

- CEWB001.indel.cds_annot.csv.gz：编码序列插入缺失变异注释文件（压缩格式）。

- CEWB001.indel_cds_len.png：插入缺失变异长度分布图像（编码序列）。

- CEWB001.indel.gene.csv.gz：基因级别的插入缺失变异注释文件（压缩格式）。

- CEWB001.indel_len.png：插入缺失变异长度分布图像。

- CEWB001.indel.vcf.gz：插入缺失变异文件（压缩格式）。

- CEWB001.raw.indel.vcf.gz：原始插入缺失变异文件（压缩格式）。

snp 文件夹

- CEWB001.coding.snp.AnnotationTable.xls：编码区SNP变异注释表格。

- CEWB001.raw.snp.vcf.gz：原始SNP变异文件（压缩格式）。

- CEWB001.snp.AnnotationTable.xls：SNP变异注释表格。

- CEWB001.snp.annot.csv.gz：SNP变异注释文件（压缩格式）。

- CEWB001.snp.cds_annot.csv.gz：编码序列SNP变异注释文件（压缩格式）。

- CEWB001.snp.gene.csv.gz：基因级别的SNP变异注释文件（压缩格式）。

- CEWB001.snp.vcf.gz：SNP变异文件（压缩格式）。

sv 文件夹

- CEWB001.sv.AnnotationTable.xls：结构变异注释表格。

- CEWB001.sv.vep.anno.xls：通过VEP工具注释的结构变异表格。

- CEWB001.sv.xls：结构变异结果表格。

五、参数解释和对应cmdline

5.1数据过滤 共9列

Sample：样品名称

Raw reads：统计原始序列双端Read pair总数据，根据FASTQ的格式，以四行为一个单位进行

统计

Raw bases：统计原始序列双端Read pair总数据（read碱基数），等于Raw reads和读长的乘

积

Clean reads：统计过滤后序列双端Read pair总数，根据FASTQ的格式，以四行为一个单位进

行统计

Clean bases：过滤后用于后续生信分析的clean数据

Clean data rate (%)：过滤后用于后续生信 分析的clean数据占原始数据的比例

Q20 (%)：分别计算Phred数值＞20的碱基占总体碱基的百分比，该值为clean Read1 和

Read2 一起统计的平均值

Q30 (%)：分别计算Phred数值＞30的碱基占总体碱基的百分比，该值为clean Read1 和

Read2 一起统计的平均值

GC (%)：计算碱基G和C数量总和占比，该值为Read1和Read2一起统计的平均值

5.2比对 共12列

Sample：样品名称

Clean reads：统计原始序列双端Read pair总数据（reads对数），根据FASTQ的格式，以四

行为一个单位进行统计

Clean bases (Gb)：过滤后用于后续生信分析的clean数据量

Mapping rate (%)：比对率，即成功比对到全基因组上的 reads 所占比例

Unique rate (%)：唯一比对率，即比对到全基因组上唯一位置的 reads 所占比例

Duplicate rate (%)：重复率，即重复reads所占比例

Mismatch rate (%)：比对上的测序碱基的错配率

Average depth (X)：去除Gap区域后的全基因组区域上的平均测序深度。其计算方法是，去除

重复的 reads 后比对上的测序碱基总数除以去除Gap区域后的全基因组总长度

Coverage (%)：被至少 1 条 reads 覆盖的全基因组区域的比例

Coverage_4X (%)：被至少 4 条 reads 覆盖的全基因组区域的比例

Coverage_10X (%)：被至少 10 条 reads 覆盖的全基因组区域的比例

Coverage_20X (%)：被至少 20 条 reads 覆盖的全基因组区域的比例

5.3变异检测

SNP部分

Sample_id.snp.AnnotationTable.xls 共9列

Sample：样品名称

Intergenic: 基因间区域的 SNP 数目

Intronic: 内含子区域的 SNP 数目

Upstream：基因的转录起始位置上游 2000bp 的区域内的 SNP 数目

Downstream：基因的转录终止位置下游 2000bp 的区域内的 SNP 数目

Exonic: 外显子区域的 SNP 数目

Splicing: 剪接区域的 SNP 数目

5' UTRs：5'端非翻译区的SNP数目

3' UTRs：3'端非翻译区的SNP数目

Sample_id.coding.snp.AnnotationTable.xls 共4列

Sample：样品名称

Splicing：剪接区域的 SNP 数目

ncRNA_exonic：非编码RNA（ncRNA）外显子区域的SNP数目

Exonic：蛋白编码基因外显子区域的SNP数目

Sample_id.anno.hg38_multianno.csv/Sample_id.cds.anno.hg38_multianno.csv/ Sample_id.gene.anno.hg38_multianno.csv 共63列

Chr: 染色体编号

Start: 变异起始位置

End: 变异结束位置

Ref: 参考碱基

Alt: 变异碱基

Func.refGene: 基因功能注释（如：exonic, intronic）

Gene.refGene: 变异所在的基因名称

GeneDetail.refGene: 基因详细信息（如：具体的外显子编号）

ExonicFunc.refGene: 外显子功能注释（如：nonsynonymous SNV, synonymous SNV）

AAChange.refGene: 氨基酸变化注释

cytoBand: 细胞带信息

genomicSuperDups: 基因组超级重复区域信息

esp6500siv2_all: 6500个欧洲和非裔美国人群的等位基因频率

CLNALLELEID: 临床变异数据库的等位基因ID

CLNDN: 临床变异相关的疾病名称

CLNDISDB: 临床变异相关的疾病数据库

CLNREVSTAT: 临床变异评审状态

CLNSIG: 临床变异的致病性分类

Start_hg19: 在hg19版本基因组中的起始位置

DamagePredCount: 有害性预测计数

SIFT_pred: SIFT变异预测（有害或无害）

SIFT4G_pred: SIFT4G变异预测

LRT_pred: LRT变异预测

MutationTaster_pred: MutationTaster变异预测

MutationAssessor_pred: MutationAssessor变异预测

FATHMM_pred: FATHMM变异预测

PROVEAN_pred: PROVEAN变异预测

MetaSVM_pred: MetaSVM变异预测

MetaLR_pred: MetaLR变异预测

M-CAP_pred: M-CAP变异预测

MutPred_score: MutPred评分

MVP_score: MVP评分

MPC_score: MPC评分

PrimateAI_pred: PrimateAI变异预测

DEOGEN2_pred: DEOGEN2变异预测

BayesDel_addAF_pred: BayesDel加权等位基因频率预测

BayesDel_noAF_pred: BayesDel不加权等位基因频率预测

LIST-S2_pred: LIST-S2变异预测

DANN_score: DANN评分

fathmm-MKL_coding_pred: fathmm-MKL编码预测

fathmm-XF_coding_pred: fathmm-XF编码预测

Eigen-raw_coding: Eigen原始编码评分

Eigen-phred_coding: Eigen Phred编码评分

Eigen-PC-raw_coding: Eigen-PC原始编码评分

Eigen-PC-phred_coding: Eigen-PC Phred编码评分

integrated_fitCons_score: 综合fitCons评分

GM12878_fitCons_score: GM12878细胞系fitCons评分

H1-hESC_fitCons_score: H1-hESC细胞系fitCons评分

HUVEC_fitCons_score: HUVEC细胞系fitCons评分

GERP++_NR: GERP++中性率

GERP++_RS: GERP++得分

phyloP100way_vertebrate: phyloP 100物种脊椎动物比较评分

phyloP30way_mammalian: phyloP 30物种哺乳动物比较评分

phyloP17way_primate: phyloP 17物种灵长类比较评分

phastCons100way_vertebrate: phastCons 100物种脊椎动物比较评分

phastCons30way_mammalian: phastCons 30物种哺乳动物比较评分

phastCons17way_primate: phastCons 17物种灵长类比较评分

bStatistic: b统计量

Interpro_domain: InterPro蛋白结构域注释

GTEx_V8_gene: GTEx版本8中基因表达

GTEx_V8_tissue: GTEx版本8中组织表达

ICGC_Id: ICGC ID

ICGC_Occurrence: ICGC中发生频率

Indel部分

Sample_id.indel.AnnotationTable.xls 共9列

内容与SNP部分一致

Sample_id.coding.indel.AnnotationTable.xls 共4列

内容与SNP部分一致

Sample_id.anno.hg38_multianno.csv/Sample_id.cds.anno.hg38_multianno.csv/ Sample_id.gene.anno.hg38_multianno.csv 共63列，内容与SNP一致

SV部分

Sample_id.sv.anno.vep 共14列

Uploaded_variation：上传的变异标识符

Location：变异位置

Allele：描述变异的替代碱基或序列

Gene：变异所在的基因名称或标识符

Feature：表示受变异影响的具体基因特征

Feature_type：特征类型

Consequence: 变异的结果

cDNA_position：cDNA位置

CDS_position：CDS位置

Protein_position：蛋白质位置

Amino_acids：受变异影响的氨基酸残基

Codons：密码子

Existing_variation：已有变异

Extra：额外信息

Sample_id.sv.xls 共5列

sample：样本信息

CTX：染色体间易位变异(CTX)的数目

DEL：缺失变异的数目

INV：倒位变异的数目

ITX：染色体内易位变异(ITX)的数目

CNV部分 共15列

Sample_id.cnv.anno.vep 共14列

内容与SV一致

Sample_id.cnv.xls 共3列

Sample：样本信息

DEL：拷贝数缺失的总数

DUP：拷贝数扩增的总数

整体命令： /usr/local/bin/MegaBOLT --list /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/inputs/651740101/sampleList --type full --runtype WGS --ref /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa --knownSites /mnt/ssd/MegaBOLT_scheduler/reference/dbsnp_151.hg38.vcf.gz --knownSites /mnt/ssd/MegaBOLT_scheduler/reference/Mills_and_1000G_gold_standard.indels.hg38.vcf.gz --knownSites /mnt/ssd/MegaBOLT_scheduler/reference/1000G_phase1.snps.high_confidence.hg38.vcf.gz --resource-dbsnp /mnt/ssd/MegaBOLT_scheduler/reference/dbsnp_151.hg38.vcf.gz --bqsrindex /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa.vcfi --vcf /mnt/ssd/MegaBOLT_scheduler/reference/dbsnp_151.hg38.vcf.gz --resource-omni /mnt/ssd/MegaBOLT_scheduler/reference/1000G_omni2.5.hg38.vcf.gz --resource-mills /mnt/ssd/MegaBOLT_scheduler/reference/Mills_and_1000G_gold_standard.indels.hg38.vcf.gz --resource-1000G /mnt/ssd/MegaBOLT_scheduler/reference/1000G_phase1.snps.high_confidence.hg38.vcf.gz --resource-hapmap /mnt/ssd/MegaBOLT_scheduler/reference/hapmap_3.3.hg38.vcf.gz --rtg-baseline-snp /mnt/ssd/MegaBOLT_scheduler/reference/db/db_rtgtools/db_rtgtools_hg38/HG001_GRCh38_GIAB_v.3.3.2_highconf.snp.vcf.gz --rtg-baseline-indel /mnt/ssd/MegaBOLT_scheduler/reference/db/db_rtgtools/db_rtgtools_hg38/HG001_GRCh38_GIAB_v.3.3.2_highconf.indel.vcf.gz --rtg-evaluation-regions /mnt/ssd/MegaBOLT_scheduler/reference/db/db_rtgtools/db_rtgtools_hg38/HG001_GRCh38_GIAB_highconf_CG-IllFB-IllGATKHC-Ion-10X-SOLID_CHROM1-X_v.3.3.2_highconf_nosomaticdel_noCENorHET7.bed --rtg-sdf /mnt/ssd/MegaBOLT_scheduler/reference/db/db_rtgtools/db_rtgtools_hg38/hg38.fasta.sdf --outputdir result --no-markdup 0 --no-bqsr 0 --run-genotypegvcfs 0 --no-fastq-output 0 --no-bam-output-for-alignment 1 --no-bam-output-for-sort 0 --no-bam-output-for-bqsr 0 --output-cram 0 --bwa 1 --se 0 --mdtag 0 --ERC GVCF --hc4 1 --interval-padding 0 --stand-call-conf 30 --pcr-indel-model NONE --scalafile /mnt/ssd/MegaBOLT/tools/GATK/gatk_best_practice/ExampleHaplotypeCaller.scala --arguments-file /mnt/ssd/MegaBOLT_scheduler/bin/arguments_file --deepvariant 0 --WGS-mode PCR-free --genotypegvcfs-stand-call-conf 10 --allSites 0 --run-rtgtools 0 --bqsr4 0 --run-variant-filtration 1 --run-vqsr 0 --no-stats 0 --no-qc 0 --no-hc 0 --gatk4 1 --run-postalt 0 --no-hla-output 0 --run-wgp 1 --wgp-type CNV-SV --quantize 0 --mutect2-arguments-file /mnt/ssd/MegaBOLT_scheduler/bin/arguments_file

SplitFilter cmdline: /usr/bin/perl $MEGABOLT_BIN/split_filter.pl -sample sample_id -list /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id/sample_id.list -type WGS -se 0 -outdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -copydir /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id -tmpdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -split 30 -cpu 30 -nofastqoutput 0 -a1 AAGTCGGAGGCCAAGCGGTCTTAGGAAGACAA -a2 AAGTCGGATCGTAGCCATGTCGTTCTGTGAGCCAAGGAGTTG -rd 0

QcStats cmdline: /usr/bin/sh /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id/shell/qc/QC_cat_stat.sh

QcDelete cmdline: /usr/bin/sh/mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id/shell/qc/QC_filter_remove.sh

BWA cmdline: $MEGABOLT_BIN/bwa mem /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa -l /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id/megabolt.inputlist -t 40 -Y -i $MEGABOLT_LICENSE

| SortMarkDup cmdline: $MEGABOLT_BIN/SortMarkDup threads=30 tmpfile=/mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/tmp_sort_5 inputformat=sam outputformat=bamindexfilename=/mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bam.bai |  |
| --- | --- |
| BQSR3 cmdline: $MEGABOLT_BIN/BQSR3 BQSR -I /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bam -F /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa.vcfi -T 50 -D 50 -N 100 -S 5000 -O /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.bam -G /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.bam.grp -P /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/BWASortMarDupBQSR_2.fifo -K -A 0 -L $MEGABOLT_LICENSE |

BamStats cmdline: /usr/bin/perl $MEGABOLT_BIN/bam_stats_2.pl -sample sample_id -bam /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.bam -type WGS -outdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -copydir /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id -se 0 -bed NONE -ref /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa -rd 0

HaplotypeCaller4 cmdline: /usr/bin/java -Xmx80g -Xms64g -XX:+ParallelRefProcEnabled -XX:MaxGCPauseMillis=200 -jar $MEGABOLT_BIN/hc4HaplotypeCaller.jar HaplotypeCaller --num-threads 40 -LIC $MEGABOLT_LICENSE -R /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa -I /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.bam -O /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.hc4.g.vcf.gz -ERC GVCF --interval-padding 0 –dbsnp /mnt/ssd/MegaBOLT_scheduler/reference/dbsnp_151.hg38.vcf.gz -stand-call-conf 30 --pcr-indel-model NONE --arguments_file /mnt/ssd/MegaBOLT_scheduler/bin/arguments_file --use-fpga false

GenotypeGVCFs4 cmdline: /usr/bin/java -Xmx60g -Xms30g -Djava.io.tmpdir=/mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -jar $MEGABOLT_TOOLS/GATK/zig-1.0.0-SNAPSHOT.jar LIC=$MEGABOLT_LICENSE R=/mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa I=/mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.hc4.g.vcf.gz O=/mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.hc4.genotype.vcf.gz D=/mnt/ssd/MegaBOLT_scheduler/reference/dbsnp_151.hg38.vcf.gz nt=40 stand-call-conf=10 BN=60 BS=10000 UBRS=20000 BLR=256 MDTN=1 QUIET=false

VariantFiltration4 cmdline: /usr/bin/perl $MEGABOLT_BIN/variant_filtration_4.pl -sample sample_id -vcf /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.hc4.genotype.vcf.gz -outdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -copydir /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id -ref /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa -outvcf /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.hc4.genotype.filtration.vcf.gz

WGPLite cmdline: /usr/bin/perl $MEGABOLT_BIN/WGP/WGP_lite.pl -sample sample_id -bam /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.bam -type CNV-SV -outdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -copydir /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id -ref /mnt/ssd/MegaBOLT_scheduler/reference/hg38.fa -rd 0

VcfStats cmdline: /usr/bin/perl $MEGABOLT_BIN/vcf_stats.pl -sample sample_id -vcf /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1/sample_id.bwa.sortdup.bqsr.hc4.genotype.filtration.vcf.gz -outdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -copydir /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id

GetReport cmdline: /usr/bin/perl $MEGABOLT_BIN/generate_report/get_report_new.pl -sample sample_id -indir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -outdir /mnt/ssd/MegaBOLT_scheduler/tmpDir/17/1 -copydir /storeData/ztron/analysis/megabolt_wgs_v2_4_0_0/tmp_dir/call-Megabolt_wgs_v2_4_0_0/execution/result/sample_id -type WGS -se 0 -rtgtools 0 -rd 0 -runwgp 1

CNV注释脚本 module load ensembl-vep /usr/nzx-cluster/apps/ensembl-vep/111.0/ensembl-vep/vep -i /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H4/Human_Sample.CNV.filter.vcf --force_overwrite --offline --species homo_sapiens -dir_cache /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/humandb --assembly GRCh38 --fasta /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/humandb/reference_hg38/hg38.fa --output_file /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H4/cnv/WFND01Z240319017H4.cnv.anno.vep perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/cnv.stat.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H4/Human_Sample.CNV.filter.vcf /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H4/cnv/WFND01Z240319017H4.cnv.xls && cp /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H4/Human_Sample.CNV.filter.vcf /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H4/cnv && rm -r /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H4/cnv/*txt

Indel注释脚本 module load ensembl-vep module load R /usr/nzx-cluster/apps/GATK4/gatk-4.1.2.0/gatk SelectVariants -V /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H6/WFND01Z240319017H6.bwa.sortdup.bqsr.hc4.genotype.filtration.vcf.gz -O /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.vcf.gz --select-type-to-include INDEL perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/annovar/convert2annovar.pl -format vcf4 -filter pass /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.vcf.gz -allsample -outfile /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/indel perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/annovar/table_annovar.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/indel.WFND01Z240319017H6.avinput /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/humandb/hg38 -buildver hg38 -out /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.anno -remove -protocol refGene,cytoBand,genomicSuperDups,esp6500siv2_all,clinvar_20221231,dbnsfp41c,icgc28 -operation g,r,r,f,f,f,f -nastring . -csvout perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/indel.stat.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.anno.hg38_multianno.csv /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.gene.anno.hg38_multianno.csv /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.AnnotationTable.xls /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.cds.anno.hg38_multianno.csv perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/indel.codeing.stat.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.cds.anno.hg38_multianno.csv /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.vcf.gz /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.coding.indel.AnnotationTable.xls /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.cds.indel.vcf perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/indel.len.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.vcf.gz /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.len.stat.xls && rm /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/*input perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/indel.len.cds.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.cds.indel.vcf /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.cds.indel.len.stat.xls perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/R.pl WFND01Z240319017H6 /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.len.stat.xls /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.cds.indel.len.stat.xls /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result && rm /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/indel* /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/*vcf /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/*len.stat.xls /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/*input

SNP注释脚本 module load ensembl-vep /usr/nzx-cluster/apps/GATK4/gatk-4.1.2.0/gatk SelectVariants -V /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H6/WFND01Z240319017H6.bwa.sortdup.bqsr.hc4.genotype.filtration.vcf.gz -O /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.snp.vcf.gz --select-type-to-include SNP perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/annovar/convert2annovar.pl -format vcf4 -filter pass /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/indel/WFND01Z240319017H6.indel.vcf.gz -allsample -outfile /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/snp perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/annovar/table_annovar.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/snp.WFND01Z240319017H6.avinput /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/humandb/hg38 -buildver hg38 -out /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.anno -remove -protocol refGene,cytoBand,genomicSuperDups,esp6500siv2_all,clinvar_20221231,dbnsfp41c,icgc28 -operation g,r,r,f,f,f,f -nastring . -csvout perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/SNP.stat.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.anno.hg38_multianno.csv /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.gene.anno.hg38_multianno.csv /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.snp.AnnotationTable.xls /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.cds.anno.hg38_multianno.csv perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/snp.coding.stat.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.cds.anno.hg38_multianno.csv /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/WFND01Z240319017H6.coding.snp.AnnotationTable.xls && rm /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/snp/*input

SV注释脚本 module load ensembl-vep /usr/nzx-cluster/apps/ensembl-vep/111.0/ensembl-vep/vep -i /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H6/WFND01Z240319017H6.sv.vcf --force_overwrite --offline --species homo_sapiens -dir_cache /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/humandb --assembly GRCh38 --fasta /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/annotation/humandb/reference_hg38/hg38.fa --output_file /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/sv/WFND01Z240319017H6.sv.anno.vep perl /GPFS/zhangli_lab_permanent/shaoyi/ztron/tools/bin/sv.stat.pl /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H6/WFND01Z240319017H6.sv.vcf /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/sv/WFND01Z240319017H6.sv.xls cp /GPFS/zhangli_lab_permanent/shaoyi/ztron/00.raw_data/20240528/WFND01Z240319017H6/WFND01Z240319017H6.sv.vcf /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/sv && rm /GPFS/zhangli_lab_permanent/shaoyi/ztron/01.Annotation/04.annotation_0529/anntation_result/WFND01Z240319017H6/sv/*txt